## Sheet1
|  | mod1 |  | mod2 |  | mod3 | mod4 |  | mod5 | mod6 | mod7 | mod8
PORT | AI_MVDN |  | AI_TTC |  | AO_VO |  | DI_DIV20 |  | DIOL1 | DIOL2 | DIOL3 | DIOL4
1 | + | SHED2_T_L | + | SHED3_H | + | Valve 1 | +in | +out | SHED3_Hot_Pump | Main_C_Pump | SHED1 Good to start (24V) | Exhaust Damper
2 | - | SHED2_T_L | - | SHED3_H | - |  | -in | -out
3 | shield |  | shield |  | + | Valve2 | +in | +out | SHED3_C_Pump | SHED1_C_Pump | SHED2 Good to Start | Extractor fan
4 | + | SHED2_T_R | + | SHED3_C | - |  | -in | -out
5 | - | SHED2_T_R | - | SHED3_C | Shield |  | +in | +out | SHED2_H_Pump | SHED1_H_Pump | SHED3 Good to Start
6 | + | SHED3_T_L | + | SHED2_H | + | Valve3 | -in | -out
7 | - | SHED3_T_L | - | SHED2_H | - |  | +in | +out | SHED2_C_Pump | SHED_2_Door_Seal | SHED3_Door_Seal
8 | shield |  | shield |  | + | Valve4 | -in | -out
9 | + | SHED3_T_R | + | SHED2_C | - |  | +in | +out | Main_H_Pump | SHED2_Exhaust | SHED3_Exhaust
10 | - | SHED3_T_R | - | SHED2_C | Shield |  | -in | -out
11 | + | SHED2 Gas Analyzer | + | MAIN_H | + | Valve5 | +in | +in | Flowmeter - SHED3-H | Flowmeter - SHED2-H | Flowmeter - MAIN-H | Flowmeter - SHED1-C
12 | - |  | - | MAIN_H | - |  | -in | -in
13 | shield |  | shield |  | + | Valve6 | +in | +in | SHED3 Request to start | SHED2 Request to start | Airflow indicator light | SHED1 Request to Start
14 | + | SHED3 Gas Analyzer | + | MAIN_C | - |  | -in | -in
15 | - |  | - | MAIN_C | Shield |  | +in | +in | Flowmeter - SHED3-C | Flowmeter - SHED3-C | Flowmeter - Main-C | Flowmeter - SHED1-H
16 | + |  | + | SHED1_C | + | Valve7 | -in | -in
17 | - |  | - | SHED1_C | - |  | +in | +in
18 | shield |  | shield |  | + | Valve 8 | -in | -in
19 | + |  | + | SHED1_H | - |  | +in | +in
20 | - |  | - | SHED1_H | Shield |  | -in | -in
+in
-in
+in
-in
+in
-in
+in
-in
+in
-in
+in
-in
+in
-in
+in
-in
+in
-in
+in
-in